## Sheet1
№ | Статус | Раздел | Марка | Тип объекта | Наименование | Описание | Подпись | Номер | PLC переменная | Период архив | KKS | Доп.параметр | Маска упр. в срезах | Классификатор | Группа событий | КОНТРОЛЛЕР | Адрес | № ресурса или группа
1 | - | Mode | _ASU_MB_HR_0500_REAL | REAL | MB_HR_0500_REAL | PT-9301 Pressure feedback |  | 0 | PIC-9301_PV | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0500 | 4
2 | - | Mode | _ASU_MB_HR_0502_REAL | REAL | MB_HR_0502_REAL | PT-9201 Pressure feedback |  | 0 | PIC-9201_PV | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0502 | 4
3 | - | Mode | _ASU_MB_HR_0504_REAL | REAL | MB_HR_0504_REAL | PT-9302 Pressure feedback |  | 0 | PIC-9302_PV | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0504 | 4
4 | - | Mode | _ASU_MB_HR_0506_REAL | REAL | MB_HR_0506_REAL | PT-9202 Pressure feedback |  | 0 | PIC-9202_PV | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0506 | 4
5 | - | Mode | _ASU_MB_HR_0508_REAL | REAL | MB_HR_0508_REAL | PT-02101 Pressure feedback |  | 0 | PIC-02101_PV | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0508 | 4
6 | - | Mode | _ASU_MB_HR_0510_REAL | REAL | MB_HR_0510_REAL | PT-02102 Pressure feedback |  | 0 | PIC-02102_PV | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0510 | 4
7 | - | Mode | _ASU_MB_HR_0512_REAL | REAL | MB_HR_0512_REAL | FT-02101 flow feedback |  | 0 | FIC-02101_PV | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0512 | 4
8 | - | Mode | _ASU_MB_HR_0514_REAL | REAL | MB_HR_0514_REAL | FT-02102 flow feedback |  | 0 | FIC-02102_PV | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0514 | 4
9 | - | Mode | _ASU_MB_HR_0516_REAL | REAL | MB_HR_0516_REAL | LT-02101 liquid level feedback |  | 0 | LIC-02101_PV | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0516 | 4
10 | - | Mode | _ASU_MB_HR_0518_REAL | REAL | MB_HR_0518_REAL | TT-9202 temperature feedback |  | 0 | TIC-9202_PV | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0518 | 4
11 | - | Mode | _ASU_MB_HR_0520_REAL | REAL | MB_HR_0520_REAL | TT-9302 temperature feedback |  | 0 | TIC-9302_PV | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0520 | 4
12 | - | Mode | _ASU_MB_HR_0522_REAL | REAL | MB_HR_0522_REAL | TT-9303 temperature feedback |  | 0 | TIC-9303 | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0522 | 4
13 | - | Mode | _ASU_MB_HR_0524_REAL | REAL | MB_HR_0524_REAL | TT-9203 temperature feedback |  | 0 | TIC-9203 | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0524 | 4
14 | - | Mode | _ASU_MB_HR_0526_REAL | REAL | MB_HR_0526_REAL | TT-9304 temperature feedback |  | 0 | TIC-9304 | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0526 | 4
15 | - | Mode | _ASU_MB_HR_0528_REAL | REAL | MB_HR_0528_REAL | TT-9205 temperature feedback |  | 0 | TIC-9205 | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0528 | 4
16 | - | Mode | _ASU_MB_HR_0530_REAL | REAL | MB_HR_0530_REAL | TT-9305 temperature feedback |  | 0 | TIC-9305 | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0530 | 4
17 | - | Mode | _ASU_MB_HR_0532_REAL | REAL | MB_HR_0532_REAL | TT-02101 temperature feedback |  | 0 | TIC-02101 | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0532 | 4
18 | - | Mode | _ASU_MB_HR_0534_REAL | REAL | MB_HR_0534_REAL | TT-02102 temperature feedback |  | 0 | TIC-02102 | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0534 | 4
19 | - | Mode | _ASU_MB_HR_0536_REAL | REAL | MB_HR_0536_REAL | TT-02103 temperature feedback |  | 0 | TIC-02103 | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0536 | 4
20 | - | Mode | _ASU_MB_HR_0538_REAL | REAL | MB_HR_0538_REAL | TT-02104 temperature feedback |  | 0 | TIC-02104 | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0538 | 4
21 | - | Mode | _ASU_MB_HR_0540_REAL | REAL | MB_HR_0540_REAL | TT-02105 temperature feedback |  | 0 | TIC-02105 | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0540 | 4
22 | - | Mode | _ASU_MB_HR_0542_REAL | REAL | MB_HR_0542_REAL | TT-02106 temperature feedback |  | 0 | TIC-02106 | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0542 | 4
23 | - | Mode | _ASU_MB_HR_0544_REAL | REAL | MB_HR_0544_REAL | C-9201 current feedback |  | 0 | C-9201CUR_PV | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0544 | 4
24 | - | Mode | _ASU_MB_HR_0546_REAL | REAL | MB_HR_0546_REAL | C-9201 current feedback |  | 0 | C-9301CUR_PV | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0546 | 4
25 | - | Mode | _ASU_MB_HR_0548_REAL | REAL | MB_HR_0548_REAL | BL-0211 current feedback |  | 0 | BL-0211CUR_PV | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0548 | 4
26 | - | Mode | _ASU_MB_HR_0300_BOOL | BOOL | MB_HR_0300_BOOL | XV-02101 Open position feedback(1 fully opened, 0 not fully opened)(1 fully opened, 0 not fully opened) |  | 0 | XZSO-02101 | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0300 | 4
27 | - | Mode | _ASU_MB_HR_0300_BOOL | BOOL | MB_HR_0300_BOOL | XV-02101 close position feedback(1 closed in place, 0 not closed in place)(1 closed in place, 0 not closed in place) |  | 0 | XZSC-02101 | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0300 | 4
28 | - | Mode | _ASU_MB_HR_0300_BOOL | BOOL | MB_HR_0300_BOOL | XV-02103 Open position feedback(1 fully opened, 0 not fully opened) |  | 0 | XZSO-02103 | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0300 | 4
29 | - | Mode | _ASU_MB_HR_0300_BOOL | BOOL | MB_HR_0300_BOOL | XV-02103 close position feedback(1 closed in place, 0 not closed in place) |  | 0 | XZSC-02103 | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0300 | 4
30 | - | Mode | _ASU_MB_HR_0300_BOOL | BOOL | MB_HR_0300_BOOL | XV-02104 Open position feedback(1 fully opened, 0 not fully opened) |  | 0 | XZSO-02104 | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0300 | 4
31 | - | Mode | _ASU_MB_HR_0300_BOOL | BOOL | MB_HR_0300_BOOL | XV-02104 close position feedback(1 closed in place, 0 not closed in place) |  | 0 | XZSC-02104 | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0300 | 4
32 | - | Mode | _ASU_MB_HR_0300_BOOL | BOOL | MB_HR_0300_BOOL | XV-02105 Open position feedback(1 fully opened, 0 not fully opened) |  | 0 | XZSO-02105 | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0300 | 4
33 | - | Mode | _ASU_MB_HR_0300_BOOL | BOOL | MB_HR_0300_BOOL | XV-02105 close position feedback(1 closed in place, 0 not closed in place) |  | 0 | XZSC-02105 | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0300 | 4
34 | - | Mode | _ASU_MB_HR_0300_BOOL | BOOL | MB_HR_0300_BOOL | SV-9202 Open position feedback(1 fully opened, 0 not fully opened) |  | 0 | ZSO-SV9202 | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0300 | 4
35 | - | Mode | _ASU_MB_HR_0300_BOOL | BOOL | MB_HR_0300_BOOL | SV-9202 close position feedback(1 closed in place, 0 not closed in place) |  | 0 | ZSC-SV9202 | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0300 | 4
36 | - | Mode | _ASU_MB_HR_0300_BOOL | BOOL | MB_HR_0300_BOOL | SV-9302 Open position feedback(1 fully opened, 0 not fully opened) |  | 0 | ZSO-SV9302 | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0300 | 4
37 | - | Mode | _ASU_MB_HR_0300_BOOL | BOOL | MB_HR_0300_BOOL | SV-9302 close position feedback(1 closed in place, 0 not closed in place) |  | 0 | ZSC-SV9302 | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0300 | 4
38 | - | Mode | _ASU_MB_HR_0300_BOOL | BOOL | MB_HR_0300_BOOL | SV-9205 Open position feedback(1 fully opened, 0 not fully opened) |  | 0 | ZSO-SV9205 | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0300 | 4
39 | - | Mode | _ASU_MB_HR_0300_BOOL | BOOL | MB_HR_0300_BOOL | SV-9205 close position feedback(1 closed in place, 0 not closed in place) |  | 0 | ZSC-SV9205 | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0300 | 4
40 | - | Mode | _ASU_MB_HR_0300_BOOL | BOOL | MB_HR_0300_BOOL | SV-9305 Open position feedback(1 fully opened, 0 not fully opened) |  | 0 | ZSO-SV9305 | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0300 | 4
41 | - | Mode | _ASU_MB_HR_0301_BOOL | BOOL | MB_HR_0301_BOOL | SV-9305 close position feedback(1 closed in place, 0 not closed in place) |  | 0 | ZSC-SV9305 | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0301 | 4
42 | - | Mode | _ASU_MB_HR_0301_BOOL | BOOL | MB_HR_0301_BOOL | SV-9306A Open position feedback(1 fully opened, 0 not fully opened) |  | 0 | ZSO-SV9306A | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0301 | 4
43 | - | Mode | _ASU_MB_HR_0301_BOOL | BOOL | MB_HR_0301_BOOL | SV-9306A close position feedback(1 closed in place, 0 not closed in place) |  | 0 | ZSC-SV9306A | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0301 | 4
44 | - | Mode | _ASU_MB_HR_0301_BOOL | BOOL | MB_HR_0301_BOOL | SV-9306B Open position feedback(1 fully opened, 0 not fully opened) |  | 0 | ZSO-SV9306B | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0301 | 4
45 | - | Mode | _ASU_MB_HR_0301_BOOL | BOOL | MB_HR_0301_BOOL | SV-9306B close position feedback(1 closed in place, 0 not closed in place) |  | 0 | ZSC-SV9306B | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0301 | 4
46 | - | Mode | _ASU_MB_HR_0301_BOOL | BOOL | MB_HR_0301_BOOL | SV-9203B Open position feedback(1 fully opened, 0 not fully opened) |  | 0 | ZSO-SV9203B | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0301 | 4
47 | - | Mode | _ASU_MB_HR_0301_BOOL | BOOL | MB_HR_0301_BOOL | SV-9203B close position feedback(1 closed in place, 0 not closed in place) |  | 0 | ZSC-SV9203B | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0301 | 4
48 | - | Mode | _ASU_MB_HR_0301_BOOL | BOOL | MB_HR_0301_BOOL | SV-9206 Open position feedback(1 fully opened, 0 not fully opened) |  | 0 | ZSO-SV9206 | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0301 | 4
49 | - | Mode | _ASU_MB_HR_0301_BOOL | BOOL | MB_HR_0301_BOOL | SV-9206 close position feedback(1 closed in place, 0 not closed in place) |  | 0 | ZSC-SV9206 | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0301 | 4
50 | - | Mode | _ASU_MB_HR_0301_BOOL | BOOL | MB_HR_0301_BOOL | SV-9203A Open position feedback(1 fully opened, 0 not fully opened) |  | 0 | ZSO-SV9203A | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0301 | 4
51 | - | Mode | _ASU_MB_HR_0301_BOOL | BOOL | MB_HR_0301_BOOL | SV-9203A close position feedback(1 closed in place, 0 not closed in place) |  | 0 | ZSC-SV9203A | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0301 | 4
52 | - | Mode | _ASU_MB_HR_0301_BOOL | BOOL | MB_HR_0301_BOOL | SV-9303A Open position feedback(1 fully opened, 0 not fully opened) |  | 0 | ZSO-SV9303A | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0301 | 4
53 | - | Mode | _ASU_MB_HR_0301_BOOL | BOOL | MB_HR_0301_BOOL | SV-9303A close position feedback(1 closed in place, 0 not closed in place) |  | 0 | ZSC-SV9303A | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0301 | 4
54 | - | Mode | _ASU_MB_HR_0301_BOOL | BOOL | MB_HR_0301_BOOL | SV-9303B Open position feedback(1 fully opened, 0 not fully opened) |  | 0 | ZSO-SV9303B | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0301 | 4
55 | - | Mode | _ASU_MB_HR_0301_BOOL | BOOL | MB_HR_0301_BOOL | SV-9303B close position feedback(1 closed in place, 0 not closed in place) |  | 0 | ZSC-SV9303B | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0301 | 4
56 | - | Mode | _ASU_MB_HR_0302_BOOL | BOOL | MB_HR_0302_BOOL | SV-9308 Open position feedback(1 fully opened, 0 not fully opened) |  | 0 | ZSO-SV9308 | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0302 | 4
57 | - | Mode | _ASU_MB_HR_0302_BOOL | BOOL | MB_HR_0302_BOOL | SV-9308 close position feedback(1 closed in place, 0 not closed in place) |  | 0 | ZSC-SV9308 | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0302 | 4
58 | - | Mode | _ASU_MB_HR_0302_BOOL | BOOL | MB_HR_0302_BOOL | PDS-9201A Switch feedback(1 alarm, 0 no alarm) |  | 0 | PDS-9201A | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0302 | 4
59 | - | Mode | _ASU_MB_HR_0302_BOOL | BOOL | MB_HR_0302_BOOL | PDS-9201B Switch feedback(1 alarm, 0 no alarm) |  | 0 | PDS-9201B | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0302 | 4
60 | - | Mode | _ASU_MB_HR_0302_BOOL | BOOL | MB_HR_0302_BOOL | C-9201 Hand/Automatic Status（1 automatic, 0 manual）（1 automatic, 0 manual） |  | 0 | C-9201_AM | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0302 | 4
61 | - | Mode | _ASU_MB_HR_0302_BOOL | BOOL | MB_HR_0302_BOOL | C-9201 Fault status（1 fault, 0 no fault）（1 fault, 0 no fault） |  | 0 | C-9201_ERR | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0302 | 4
62 | - | Mode | _ASU_MB_HR_0302_BOOL | BOOL | MB_HR_0302_BOOL | C-9201 Operating status（1 is running, 0 is not running）（1 is running, 0 is not running） |  | 0 | C-9201_RI | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0302 | 4
63 | - | Mode | _ASU_MB_HR_0302_BOOL | BOOL | MB_HR_0302_BOOL | C-9301 Hand/Automatic Status（1 automatic, 0 manual） |  | 0 | C-9301_AM | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0302 | 4
64 | - | Mode | _ASU_MB_HR_0302_BOOL | BOOL | MB_HR_0302_BOOL | C-9301 Fault status（1 fault, 0 no fault） |  | 0 | C-9301_ERR | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0302 | 4
65 | - | Mode | _ASU_MB_HR_0302_BOOL | BOOL | MB_HR_0302_BOOL | C-9301 Operating status（1 is running, 0 is not running） |  | 0 | C-9301_RI | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0302 | 4
66 | - | Mode | _ASU_MB_HR_0302_BOOL | BOOL | MB_HR_0302_BOOL | BL-0211 Hand/Automatic Status（1 automatic, 0 manual） |  | 0 | BL-0211_AM | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0302 | 4
67 | - | Mode | _ASU_MB_HR_0302_BOOL | BOOL | MB_HR_0302_BOOL | BL-0211 Fault status（1 fault, 0 no fault） |  | 0 | BL-0211_ERR | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0302 | 4
68 | - | Mode | _ASU_MB_HR_0302_BOOL | BOOL | MB_HR_0302_BOOL | BL-0211 Operating status（1 is running, 0 is not running） |  | 0 | BL-0211_RI | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0302 | 4
69 | - | Mode | _ASU_MB_HR_0302_BOOL | BOOL | MB_HR_0302_BOOL | P-0211 Hand/Automatic Status（1 automatic, 0 manual） |  | 0 | P-0211_AM | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0302 | 4
70 | - | Mode | _ASU_MB_HR_0302_BOOL | BOOL | MB_HR_0302_BOOL | P-0211 Fault status（1 fault, 0 no fault） |  | 0 | P-0211_ERR | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0302 | 4
71 | - | Mode | _ASU_MB_HR_0303_BOOL | BOOL | MB_HR_0303_BOOL | P-0211 Operating status（1 is running, 0 is not running） |  | 0 | P-0211_RI | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0303 | 4
72 | - | Mode | _ASU_MB_HR_0303_BOOL | BOOL | MB_HR_0303_BOOL | AC-9201 Hand/Automatic Status（1 automatic, 0 manual） |  | 0 | AC-9201_AM | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0303 | 4
73 | - | Mode | _ASU_MB_HR_0303_BOOL | BOOL | MB_HR_0303_BOOL | AC-9201 Fault status（1 fault, 0 no fault） |  | 0 | AC-9201_ERR | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0303 | 4
74 | - | Mode | _ASU_MB_HR_0303_BOOL | BOOL | MB_HR_0303_BOOL | AC-9201 Operating status（1 is running, 0 is not running） |  | 0 | AC-9201_RI | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0303 | 4
75 | - | Mode | _ASU_MB_HR_0303_BOOL | BOOL | MB_HR_0303_BOOL | AC-9301 Hand/Automatic Status（1 automatic, 0 manual） |  | 0 | AC-9301_AM | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0303 | 4
76 | - | Mode | _ASU_MB_HR_0303_BOOL | BOOL | MB_HR_0303_BOOL | AC-9301 Fault status（1 fault, 0 no fault） |  | 0 | AC-9301_ERR | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0303 | 4
77 | - | Mode | _ASU_MB_HR_0303_BOOL | BOOL | MB_HR_0303_BOOL | AC-9301 Operating status（1 is running, 0 is not running） |  | 0 | AC-9301_RI | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0303 | 4
78 | - | Mode | _ASU_MB_HR_0303_BOOL | BOOL | MB_HR_0303_BOOL | AC-9202 Hand/Automatic Status（1 automatic, 0 manual） |  | 0 | AC-9202_AM | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0303 | 4
79 | - | Mode | _ASU_MB_HR_0303_BOOL | BOOL | MB_HR_0303_BOOL | AC-9202 Fault status（1 fault, 0 no fault） |  | 0 | AC-9202_ERR | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0303 | 4
80 | - | Mode | _ASU_MB_HR_0303_BOOL | BOOL | MB_HR_0303_BOOL | AC-9202 Operating status（1 is running, 0 is not running） |  | 0 | AC-9202_RI | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0303 | 4
81 | - | Mode | _ASU_MB_HR_0303_BOOL | BOOL | MB_HR_0303_BOOL | AC-9302 Hand/Automatic Status（1 automatic, 0 manual） |  | 0 | AC-9302_AM | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0303 | 4
82 | - | Mode | _ASU_MB_HR_0303_BOOL | BOOL | MB_HR_0303_BOOL | AC-9302 Fault status（1 fault, 0 no fault） |  | 0 | AC-9302_ERR | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0303 | 4
83 | - | Mode | _ASU_MB_HR_0303_BOOL | BOOL | MB_HR_0303_BOOL | AC-9302 Operating status（1 is running, 0 is not running） |  | 0 | AC-9302_RI | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0303 | 4
84 | - | Mode | _ASU_MB_HR_0303_BOOL | BOOL | MB_HR_0303_BOOL | 1#Electric heating operation signal（1 is running, 0 is not running） |  | 0 | 1#eht_RI | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0303 | 4
85 | - | Mode | _ASU_MB_HR_0303_BOOL | BOOL | MB_HR_0303_BOOL | 2#Electric heating operation signal（1 is running, 0 is not running） |  | 0 | 2#eht_RI | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0303 | 4
86 | - | Mode | _ASU_MB_HR_0304_BOOL | BOOL | MB_HR_0304_BOOL | 3#Electric heating operation signal（1 is running, 0 is not running） |  | 0 | 3#eht_RI | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0304 | 4
87 | - | Mode | _ASU_MB_HR_0304_BOOL | BOOL | MB_HR_0304_BOOL | Sound and light alarm light; Read only, value 1 on, value 0 off |  | 0 | Q_EPL101 | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0304 | 4
88 | - | Mode | _ASU_MB_HR_0015_BOOL | BOOL | MB_HR_0015_BOOL | A value of 1 indicates manual mode |  | 0 | SHOUDONG | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0015 | 4
89 | - | Mode | _ASU_MB_HR_0015_BOOL | BOOL | MB_HR_0015_BOOL | A value of 1 is in automatic mode |  | 0 | ZIDONG | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0015 | 4
90 | - | Mode | _ASU_MB_HR_0015_BOOL | BOOL | MB_HR_0015_BOOL | Start oil and gas recovery with a value of 1 |  | 0 | HMI_START | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0015 | 4
91 | - | Mode | _ASU_MB_HR_0015_BOOL | BOOL | MB_HR_0015_BOOL | Emergency shutdown of the upper computer; Read and write, value 1 emergency stop, value 0 normal state |  | 0 | HMI_STOP | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0015 | 4
92 | - | Mode | _ASU_MB_HR_0015_BOOL | BOOL | MB_HR_0015_BOOL | Reset; Read and write, value 1 reset in progress, value 0 normal state |  | 0 | RESET | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0015 | 4
93 | - | Mode | _ASU_MB_HR_0600_REAL | REAL | MB_HR_0600_REAL | upper range limit value" |  | 0 | TT-9202_HL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0600 | 4
94 | - | Mode | _ASU_MB_HR_0602_REAL | REAL | MB_HR_0602_REAL | lower range limit value" |  | 0 | TT-9202_LL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0602 | 4
95 | - | Mode | _ASU_MB_HR_0604_REAL | REAL | MB_HR_0604_REAL | correction coefficient value" |  | 0 | TT-9202_CC | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0604 | 4
96 | - | Mode | _ASU_MB_HR_0606_REAL | REAL | MB_HR_0606_REAL | upper range limit value" |  | 0 | TT-9302_HL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0606 | 4
97 | - | Mode | _ASU_MB_HR_0608_REAL | REAL | MB_HR_0608_REAL | lower range limit value" |  | 0 | TT-9302_LL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0608 | 4
98 | - | Mode | _ASU_MB_HR_0610_REAL | REAL | MB_HR_0610_REAL | correction coefficient value" |  | 0 | TT-9302_CC | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0610 | 4
99 | - | Mode | _ASU_MB_HR_0612_REAL | REAL | MB_HR_0612_REAL | upper range limit value" |  | 0 | TT-9303_HL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0612 | 4
100 | - | Mode | _ASU_MB_HR_0614_REAL | REAL | MB_HR_0614_REAL | lower range limit value" |  | 0 | TT-9303_LL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0614 | 4
101 | - | Mode | _ASU_MB_HR_0616_REAL | REAL | MB_HR_0616_REAL | correction coefficient value" |  | 0 | TT-9303_CC | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0616 | 4
102 | - | Mode | _ASU_MB_HR_0618_REAL | REAL | MB_HR_0618_REAL | upper range limit value" |  | 0 | TT-9203_HL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0618 | 4
103 | - | Mode | _ASU_MB_HR_0620_REAL | REAL | MB_HR_0620_REAL | lower range limit value" |  | 0 | TT-9203_LL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0620 | 4
104 | - | Mode | _ASU_MB_HR_0622_REAL | REAL | MB_HR_0622_REAL | correction coefficient value" |  | 0 | TT-9203_CC | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0622 | 4
105 | - | Mode | _ASU_MB_HR_0624_REAL | REAL | MB_HR_0624_REAL | upper range limit value" |  | 0 | TT-9304_HL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0624 | 4
106 | - | Mode | _ASU_MB_HR_0626_REAL | REAL | MB_HR_0626_REAL | lower range limit value" |  | 0 | TT-9304_LL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0626 | 4
107 | - | Mode | _ASU_MB_HR_0628_REAL | REAL | MB_HR_0628_REAL | correction coefficient value" |  | 0 | TT-9304_CC | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0628 | 4
108 | - | Mode | _ASU_MB_HR_0630_REAL | REAL | MB_HR_0630_REAL | upper range limit value" |  | 0 | TT-9205_HL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0630 | 4
109 | - | Mode | _ASU_MB_HR_0632_REAL | REAL | MB_HR_0632_REAL | lower range limit value" |  | 0 | TT-9205_LL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0632 | 4
110 | - | Mode | _ASU_MB_HR_0634_REAL | REAL | MB_HR_0634_REAL | correction coefficient value" |  | 0 | TT-9205_CC | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0634 | 4
111 | - | Mode | _ASU_MB_HR_0636_REAL | REAL | MB_HR_0636_REAL | upper range limit value" |  | 0 | TT-9305_HL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0636 | 4
112 | - | Mode | _ASU_MB_HR_0638_REAL | REAL | MB_HR_0638_REAL | lower range limit value" |  | 0 | TT-9305_LL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0638 | 4
113 | - | Mode | _ASU_MB_HR_0640_REAL | REAL | MB_HR_0640_REAL | correction coefficient value" |  | 0 | TT-9305_CC | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0640 | 4
114 | - | Mode | _ASU_MB_HR_0642_REAL | REAL | MB_HR_0642_REAL | upper range limit value" |  | 0 | TT-02101_HL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0642 | 4
115 | - | Mode | _ASU_MB_HR_0644_REAL | REAL | MB_HR_0644_REAL | lower range limit value" |  | 0 | TT-02101_LL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0644 | 4
116 | - | Mode | _ASU_MB_HR_0646_REAL | REAL | MB_HR_0646_REAL | correction coefficient value" |  | 0 | TT-02101_CC | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0646 | 4
117 | - | Mode | _ASU_MB_HR_0648_REAL | REAL | MB_HR_0648_REAL | upper range limit value" |  | 0 | TT-02102_HL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0648 | 4
118 | - | Mode | _ASU_MB_HR_0650_REAL | REAL | MB_HR_0650_REAL | lower range limit value" |  | 0 | TT-02102_LL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0650 | 4
119 | - | Mode | _ASU_MB_HR_0652_REAL | REAL | MB_HR_0652_REAL | correction coefficient value" |  | 0 | TT-02102_CC | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0652 | 4
120 | - | Mode | _ASU_MB_HR_0654_REAL | REAL | MB_HR_0654_REAL | upper range limit value" |  | 0 | TT-02103_HL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0654 | 4
121 | - | Mode | _ASU_MB_HR_0656_REAL | REAL | MB_HR_0656_REAL | lower range limit value" |  | 0 | TT-02103_LL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0656 | 4
122 | - | Mode | _ASU_MB_HR_0658_REAL | REAL | MB_HR_0658_REAL | correction coefficient value" |  | 0 | TT-02103_CC | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0658 | 4
123 | - | Mode | _ASU_MB_HR_0660_REAL | REAL | MB_HR_0660_REAL | upper range limit value" |  | 0 | TT-02104_HL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0660 | 4
124 | - | Mode | _ASU_MB_HR_0662_REAL | REAL | MB_HR_0662_REAL | lower range limit value" |  | 0 | TT-02104_LL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0662 | 4
125 | - | Mode | _ASU_MB_HR_0664_REAL | REAL | MB_HR_0664_REAL | correction coefficient value" |  | 0 | TT-02104_CC | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0664 | 4
126 | - | Mode | _ASU_MB_HR_0666_REAL | REAL | MB_HR_0666_REAL | upper range limit value" |  | 0 | TT-02105_HL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0666 | 4
127 | - | Mode | _ASU_MB_HR_0668_REAL | REAL | MB_HR_0668_REAL | lower range limit value" |  | 0 | TT-02105_LL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0668 | 4
128 | - | Mode | _ASU_MB_HR_0670_REAL | REAL | MB_HR_0670_REAL | correction coefficient value" |  | 0 | TT-02105_CC | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0670 | 4
129 | - | Mode | _ASU_MB_HR_0672_REAL | REAL | MB_HR_0672_REAL | upper range limit value" |  | 0 | TT-02106_HL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0672 | 4
130 | - | Mode | _ASU_MB_HR_0674_REAL | REAL | MB_HR_0674_REAL | lower range limit value" |  | 0 | TT-02106_LL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0674 | 4
131 | - | Mode | _ASU_MB_HR_0676_REAL | REAL | MB_HR_0676_REAL | correction coefficient value" |  | 0 | TT-02106_CC | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0676 | 4
132 | - | Mode | _ASU_MB_HR_0678_REAL | REAL | MB_HR_0678_REAL | upper range limit value" |  | 0 | PT-9301_HL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0678 | 4
133 | - | Mode | _ASU_MB_HR_0680_REAL | REAL | MB_HR_0680_REAL | lower range limit value" |  | 0 | PT-9301_LL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0680 | 4
134 | - | Mode | _ASU_MB_HR_0682_REAL | REAL | MB_HR_0682_REAL | correction coefficient value" |  | 0 | PT-9301_CC | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0682 | 4
135 | - | Mode | _ASU_MB_HR_0684_REAL | REAL | MB_HR_0684_REAL | upper range limit value" |  | 0 | PT-9201_HL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0684 | 4
136 | - | Mode | _ASU_MB_HR_0686_REAL | REAL | MB_HR_0686_REAL | lower range limit value" |  | 0 | PT-9201_LL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0686 | 4
137 | - | Mode | _ASU_MB_HR_0688_REAL | REAL | MB_HR_0688_REAL | correction coefficient value" |  | 0 | PT-9201_CC | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0688 | 4
138 | - | Mode | _ASU_MB_HR_0690_REAL | REAL | MB_HR_0690_REAL | upper range limit value" |  | 0 | PT-9302_HL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0690 | 4
139 | - | Mode | _ASU_MB_HR_0692_REAL | REAL | MB_HR_0692_REAL | lower range limit value" |  | 0 | PT-9302_LL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0692 | 4
140 | - | Mode | _ASU_MB_HR_0694_REAL | REAL | MB_HR_0694_REAL | correction coefficient value" |  | 0 | PT-9302_CC | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0694 | 4
141 | - | Mode | _ASU_MB_HR_0696_REAL | REAL | MB_HR_0696_REAL | upper range limit value" |  | 0 | PT-9202_HL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0696 | 4
142 | - | Mode | _ASU_MB_HR_0698_REAL | REAL | MB_HR_0698_REAL | lower range limit value" |  | 0 | PT-9202_LL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0698 | 4
143 | - | Mode | _ASU_MB_HR_0700_REAL | REAL | MB_HR_0700_REAL | correction coefficient value" |  | 0 | PT-9202_CC | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0700 | 4
144 | - | Mode | _ASU_MB_HR_0702_REAL | REAL | MB_HR_0702_REAL | upper range limit value" |  | 0 | PT-02101_HL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0702 | 4
145 | - | Mode | _ASU_MB_HR_0704_REAL | REAL | MB_HR_0704_REAL | lower range limit value" |  | 0 | PT-02101_LL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0704 | 4
146 | - | Mode | _ASU_MB_HR_0706_REAL | REAL | MB_HR_0706_REAL | correction coefficient value" |  | 0 | PT-02101_CC | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0706 | 4
147 | - | Mode | _ASU_MB_HR_0708_REAL | REAL | MB_HR_0708_REAL | upper range limit value" |  | 0 | PT-02102_HL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0708 | 4
148 | - | Mode | _ASU_MB_HR_0710_REAL | REAL | MB_HR_0710_REAL | lower range limit value" |  | 0 | PT-02102_LL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0710 | 4
149 | - | Mode | _ASU_MB_HR_0712_REAL | REAL | MB_HR_0712_REAL | correction coefficient value" |  | 0 | PT-02102_CC | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0712 | 4
150 | - | Mode | _ASU_MB_HR_0714_REAL | REAL | MB_HR_0714_REAL | Current Range Upper Limit" |  | 0 | 2712-C-9201_CHL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0714 | 4
151 | - | Mode | _ASU_MB_HR_0716_REAL | REAL | MB_HR_0716_REAL | lower limit of current range" |  | 0 | 2712-C-9201_CLL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0716 | 4
152 | - | Mode | _ASU_MB_HR_0718_REAL | REAL | MB_HR_0718_REAL | current correction coefficient" |  | 0 | 2712-C-9201_CCC | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0718 | 4
153 | - | Mode | _ASU_MB_HR_0720_REAL | REAL | MB_HR_0720_REAL | Current Range Upper Limit" |  | 0 | 2712-C-9301_CHL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0720 | 4
154 | - | Mode | _ASU_MB_HR_0722_REAL | REAL | MB_HR_0722_REAL | lower limit of current range" |  | 0 | 2712-C-9301_CLL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0722 | 4
155 | - | Mode | _ASU_MB_HR_0724_REAL | REAL | MB_HR_0724_REAL | current correction coefficient" |  | 0 | 2712-C-9301_CCC | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0724 | 4
156 | - | Mode | _ASU_MB_HR_0726_REAL | REAL | MB_HR_0726_REAL | Current Range Upper Limit" |  | 0 | 2712-BL-0211_CHL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0726 | 4
157 | - | Mode | _ASU_MB_HR_0728_REAL | REAL | MB_HR_0728_REAL | lower limit of current range" |  | 0 | 2712-BL-0211_CLL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0728 | 4
158 | - | Mode | _ASU_MB_HR_0730_REAL | REAL | MB_HR_0730_REAL | current correction coefficient" |  | 0 | 2712-BL-0211_CCC | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0730 | 4
159 | - | Mode | _ASU_MB_HR_0732_REAL | REAL | MB_HR_0732_REAL | upper range limit value" |  | 0 | FT-02101_HL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0732 | 4
160 | - | Mode | _ASU_MB_HR_0734_REAL | REAL | MB_HR_0734_REAL | lower range limit value" |  | 0 | FT-02101_LL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0734 | 4
161 | - | Mode | _ASU_MB_HR_0736_REAL | REAL | MB_HR_0736_REAL | correction coefficient value" |  | 0 | FT-02101_CC | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0736 | 4
162 | - | Mode | _ASU_MB_HR_0738_REAL | REAL | MB_HR_0738_REAL | upper range limit value" |  | 0 | FT-02102_HL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0738 | 4
163 | - | Mode | _ASU_MB_HR_0740_REAL | REAL | MB_HR_0740_REAL | lower range limit value" |  | 0 | FT-02102_LL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0740 | 4
164 | - | Mode | _ASU_MB_HR_0742_REAL | REAL | MB_HR_0742_REAL | correction coefficient value" |  | 0 | FT-02102_CC | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0742 | 4
165 | - | Mode | _ASU_MB_HR_0744_REAL | REAL | MB_HR_0744_REAL | upper range limit value" |  | 0 | LT-02101_HL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0744 | 4
166 | - | Mode | _ASU_MB_HR_0746_REAL | REAL | MB_HR_0746_REAL | lower range limit value" |  | 0 | LT-02101_LL | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0746 | 4
167 | - | Mode | _ASU_MB_HR_0748_REAL | REAL | MB_HR_0748_REAL | correction coefficient value" |  | 0 | LT-02101_CC | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0748 | 4
168 | - | Mode | _ASU_MB_HR_0750_WORD | WORD | MB_HR_0750_WORD | alarm delay" |  | 0 | PDS-9201A_YS | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0750 | 4
169 | - | Mode | _ASU_MB_HR_0751_WORD | WORD | MB_HR_0751_WORD | startup delay" |  | 0 | 2712-C-9201_QDYS | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0751 | 4
170 | - | Mode | _ASU_MB_HR_0752_WORD | WORD | MB_HR_0752_WORD | Defrosting interval time" |  | 0 | 2712-C-9201_CSJG" | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0752 | 4
171 | - | Mode | _ASU_MB_HR_0753_WORD | WORD | MB_HR_0753_WORD | Defrosting time" |  | 0 | 2712-C-9201_CSSJ" | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0753 | 4
172 | - | Mode | _ASU_MB_HR_0754_REAL | REAL | MB_HR_0754_REAL | set temperature" |  | 0 | 2712-C-9201_SDWD | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0754 | 4
173 | - | Mode | _ASU_MB_HR_0756_REAL | REAL | MB_HR_0756_REAL | Set temperature difference" |  | 0 | 2712-C-9201_SDWC | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0756 | 4
174 | - | Mode | _ASU_MB_HR_0758_REAL | REAL | MB_HR_0758_REAL | High exhaust temperature alarm" |  | 0 | 2712-C-9201_PQWDGB" | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0758 | 4
175 | - | Mode | _ASU_MB_HR_0760_REAL | REAL | MB_HR_0760_REAL | Low exhaust temperature alarm" |  | 0 | 2712-C-9201_PQWDDB" | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0760 | 4
176 | - | Mode | _ASU_MB_HR_0762_REAL | REAL | MB_HR_0762_REAL | Pressure interlock defrosting activated" |  | 0 | 2712-C-9201_YLLSCSKQ" | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0762 | 4
177 | - | Mode | _ASU_MB_HR_0763_WORD | WORD | MB_HR_0763_WORD | Delayed opening of supply valve" |  | 0 | 2712-C-9201_GYFYSK" | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0763 | 4
178 | - | Mode | _ASU_MB_HR_0764_WORD | WORD | MB_HR_0764_WORD | Delayed closure of the supply valve" |  | 0 | 2712-C-9201_GYFYSG" | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0764 | 4
179 | - | Mode | _ASU_MB_HR_0765_WORD | WORD | MB_HR_0765_WORD | Oil level alarm delay" |  | 0 | 2712-C-9201_YWBJYS" | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0765 | 4
180 | - | Mode | _ASU_MB_HR_0766_REAL | REAL | MB_HR_0766_REAL | high pressure alarm" |  | 0 | 2712-C-9201_GYBJ" | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0766 | 4
181 | - | Mode | _ASU_MB_HR_0768_REAL | REAL | MB_HR_0768_REAL | low pressure alarm" |  | 0 | 2712-C-9201_DYBJ" | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0768 | 4
182 | - | Mode | _ASU_MB_HR_0770_WORD | WORD | MB_HR_0770_WORD | startup delay" |  | 0 | 2712-C-9301_QDYS" | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0770 | 4
183 | - | Mode | _ASU_MB_HR_0771_WORD | WORD | MB_HR_0771_WORD | Defrosting interval time" |  | 0 | 2712-C-9301_CSJG" | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0771 | 4
184 | - | Mode | _ASU_MB_HR_0772_WORD | WORD | MB_HR_0772_WORD | Defrosting time" |  | 0 | 2712-C-9301_CSSJ" | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0772 | 4
185 | - | Mode | _ASU_MB_HR_0773_REAL | REAL | MB_HR_0773_REAL | set temperature" |  | 0 | 2712-C-9301_SDWD" | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0773 | 4
186 | - | Mode | _ASU_MB_HR_0775_REAL | REAL | MB_HR_0775_REAL | Set temperature difference" |  | 0 | 2712-C-9301_SDWC" | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0775 | 4
187 | - | Mode | _ASU_MB_HR_0777_REAL | REAL | MB_HR_0777_REAL | High exhaust temperature alarm" |  | 0 | 2712-C-9301_PQWDGB" | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0777 | 4
188 | - | Mode | _ASU_MB_HR_0779_REAL | REAL | MB_HR_0779_REAL | Low exhaust temperature alarm" |  | 0 | 2712-C-9301_PQWDDB" | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0779 | 4
189 | - | Mode | _ASU_MB_HR_0781_REAL | REAL | MB_HR_0781_REAL | Pressure interlock defrosting activated" |  | 0 | 2712-C-9301_YLLSCSKQ" | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0781 | 4
190 | - | Mode | _ASU_MB_HR_0783_WORD | WORD | MB_HR_0783_WORD | Delayed opening of supply valve" |  | 0 | 2712-C-9301_GYFYSK" | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0783 | 4
191 | - | Mode | _ASU_MB_HR_0784_WORD | WORD | MB_HR_0784_WORD | Delayed closure of the supply valve" |  | 0 | 2712-C-9301_GYFYSG" | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0784 | 4
192 | - | Mode | _ASU_MB_HR_0785_WORD | WORD | MB_HR_0785_WORD | Oil level alarm delay" |  | 0 | 2712-C-9301_YWBJYS" | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0785 | 4
193 | - | Mode | _ASU_MB_HR_0786_REAL | REAL | MB_HR_0786_REAL | high pressure alarm" |  | 0 | 2712-C-9301_GYBJ" | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0786 | 4
194 | - | Mode | _ASU_MB_HR_0788_REAL | REAL | MB_HR_0788_REAL | low pressure alarm" |  | 0 | 2712-C-9301_DYBJ" | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0788 | 4
195 | - | Mode | _ASU_MB_HR_0790_WORD | WORD | MB_HR_0790_WORD | Current channel defrosting interval time" |  | 0 | _DQTDCSJGSJ | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0790 | 4
196 | - | Mode | _ASU_MB_HR_0791_WORD | WORD | MB_HR_0791_WORD | Current channel defrosting time" |  | 0 | _DYBJ | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0791 | 4
197 | - | Mode | _ASU_MB_HR_0792_REAL | REAL | MB_HR_0792_REAL | Start pressure" |  | 0 | 2712-BL-0211_QDYL" | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0792 | 4
198 | - | Mode | _ASU_MB_HR_0794_REAL | REAL | MB_HR_0794_REAL | Stop pressure" |  | 0 | 2712-BL-0211_TZYL" | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0794 | 4
199 | - | Mode | _ASU_MB_HR_0796_REAL | REAL | MB_HR_0796_REAL | operating pressure" |  | 0 | 2712-BL-0211_YXYL" | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0796 | 4
200 | - | Mode | _ASU_MB_HR_0798_REAL | REAL | MB_HR_0798_REAL | Initial opening degree" |  | 0 | 2712-BL-0211_CSKD" | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0798 | 4
201 | - | Mode | _ASU_MB_HR_0800_REAL | REAL | MB_HR_0800_REAL | Manually set frequency" |  | 0 | 2712-BL-0211_SDPL" | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0800 | 4
202 | - | Mode | _ASU_MB_HR_0802_REAL | REAL | MB_HR_0802_REAL | High pressure alarm shutdown" |  | 0 | 2712-BL-0211_GBTJ1" | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0802 | 4
203 | - | Mode | _ASU_MB_HR_0900_BOOL | BOOL | MB_HR_0900_BOOL | start-stop control(1-start ,0-stop) |  | 0 | 2712-C-9201_QT" | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0900 | 4
204 | - | Mode | _ASU_MB_HR_0900_BOOL | BOOL | MB_HR_0900_BOOL | start-stop control(1-start ,0-stop) |  | 0 | 2712-C-9301_QT" | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0900 | 4
205 | - | Mode | _ASU_MB_HR_0900_BOOL | BOOL | MB_HR_0900_BOOL | start-stop control(1-start ,0-stop) |  | 0 | AC-9201_QT" | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0900 | 4
206 | - | Mode | _ASU_MB_HR_0900_BOOL | BOOL | MB_HR_0900_BOOL | start-stop control(1-start ,0-stop) |  | 0 | AC-9301_QT" | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0900 | 4
207 | - | Mode | _ASU_MB_HR_0900_BOOL | BOOL | MB_HR_0900_BOOL | start-stop control(1-start ,0-stop) |  | 0 | AC-9202_QT" | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0900 | 4
208 | - | Mode | _ASU_MB_HR_0900_BOOL | BOOL | MB_HR_0900_BOOL | start-stop control(1-start ,0-stop) |  | 0 | AC-9302_QT" | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0900 | 4
209 | - | Mode | _ASU_MB_HR_0900_BOOL | BOOL | MB_HR_0900_BOOL | start-stop control(1-start ,0-stop) |  | 0 | 2712-BL-0211_QT" | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0900 | 4
210 | - | Mode | _ASU_MB_HR_0900_BOOL | BOOL | MB_HR_0900_BOOL | start-stop control(1-start ,0-stop) |  | 0 | 2712-P-0211_QT" | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0900 | 4
211 | - | Mode | _ASU_MB_HR_0900_BOOL | BOOL | MB_HR_0900_BOOL | OPEN-CLOSE control(1-OPEN ,0-CLOSE) |  | 0 | SV-9202_QT" | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0900 | 4
212 | - | Mode | _ASU_MB_HR_0900_BOOL | BOOL | MB_HR_0900_BOOL | OPEN-CLOSE control(1-OPEN ,0-CLOSE) |  | 0 | SV-9302_QT | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0900 | 4
213 | - | Mode | _ASU_MB_HR_0900_BOOL | BOOL | MB_HR_0900_BOOL | OPEN-CLOSE control(1-OPEN ,0-CLOSE) |  | 0 | SV-9205_QT | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0900 | 4
214 | - | Mode | _ASU_MB_HR_0900_BOOL | BOOL | MB_HR_0900_BOOL | OPEN-CLOSE control(1-OPEN ,0-CLOSE) |  | 0 | SV-9305_QT | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0900 | 4
215 | - | Mode | _ASU_MB_HR_0900_BOOL | BOOL | MB_HR_0900_BOOL | OPEN-CLOSE control(1-OPEN ,0-CLOSE) |  | 0 | SV-9306A_QT | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0900 | 4
216 | - | Mode | _ASU_MB_HR_0900_BOOL | BOOL | MB_HR_0900_BOOL | OPEN-CLOSE control(1-OPEN ,0-CLOSE) |  | 0 | SV-9306B_QT | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0900 | 4
217 | - | Mode | _ASU_MB_HR_0900_BOOL | BOOL | MB_HR_0900_BOOL | OPEN-CLOSE control(1-OPEN ,0-CLOSE) |  | 0 | SV-9203B_QT | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0900 | 4
218 | - | Mode | _ASU_MB_HR_0901_BOOL | BOOL | MB_HR_0901_BOOL | OPEN-CLOSE control(1-OPEN ,0-CLOSE) |  | 0 | SV-9206_QT | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0901 | 4
219 | - | Mode | _ASU_MB_HR_0901_BOOL | BOOL | MB_HR_0901_BOOL | OPEN-CLOSE control(1-OPEN ,0-CLOSE) |  | 0 | SV-9203A_QT | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0901 | 4
220 | - | Mode | _ASU_MB_HR_0901_BOOL | BOOL | MB_HR_0901_BOOL | OPEN-CLOSE control(1-OPEN ,0-CLOSE) |  | 0 | SV-9303A_QT | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0901 | 4
221 | - | Mode | _ASU_MB_HR_0901_BOOL | BOOL | MB_HR_0901_BOOL | OPEN-CLOSE control(1-OPEN ,0-CLOSE) |  | 0 | SV-9303B_QT | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0901 | 4
222 | - | Mode | _ASU_MB_HR_0901_BOOL | BOOL | MB_HR_0901_BOOL | OPEN-CLOSE control(1-OPEN ,0-CLOSE) |  | 0 | SV-9308_QT | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0901 | 4
223 | - | Mode | _ASU_MB_HR_0901_BOOL | BOOL | MB_HR_0901_BOOL | OPEN-CLOSE control(1-OPEN ,0-CLOSE) |  | 0 | XV-02101_QT | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0901 | 4
224 | - | Mode | _ASU_MB_HR_0901_BOOL | BOOL | MB_HR_0901_BOOL | OPEN-CLOSE control(1-OPEN ,0-CLOSE) |  | 0 | XV-02103_QT | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0901 | 4
225 | - | Mode | _ASU_MB_HR_0901_BOOL | BOOL | MB_HR_0901_BOOL | OPEN-CLOSE control(1-OPEN ,0-CLOSE) |  | 0 | XV-02104_QT | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0901 | 4
226 | - | Mode | _ASU_MB_HR_0901_BOOL | BOOL | MB_HR_0901_BOOL | OPEN-CLOSE control(1-OPEN ,0-CLOSE) |  | 0 | XV-02105_QT | 0 |  |  | 1 | [ВСЕ] | [ВСЕ] | PLC1 | 0901 | 4